|  | STAINLESS STEEL 316 Stainless steel Body and Disc, Metal to Metal Seat, in Sizes DN50 to DN200 suitable for ASA150 Flanges and DN250 to DN300 suitable for PN10 Flanges. OTHER Exotic Materials on Request. Larger Sizes Available on Request. Auxillieries Available on Request. Technical Advice |
| --- | --- |
| Model 210 ANSI 1-1/2"/40 mm Series 150/1500 ANSI Series 1-1/2" 150/1500 rated at 285 psi to 3705 psi cold working pressure. Available in DIN and BS Standard in pressure classes NP 10 and NP 250. Face to face for series 900, 1500 PN 160 and PN 250 is 3.31" |  |