|  | STAINLESS STEEL DISC CHECK VALVE Fig 2026: Spring loaded, Wafer Type, PN 40 Rated, to suit PN 40 Flanged. Sizes 15mm to 100mm |
| --- | --- |