Butterfly Valves – Fig 2014

Cast Iron Body, PN10 Rated, S.S. & N.P. Discs, Lever Operated & Gear Operated. Sizes 50mm - 600mm.